C312 PRODUCT INFORMATION C312

SULPHURIC ACID DRAIN CLEANER

FOR PROFESSIONAL USE ONLY

PRODUCT DESCRIPTION

C312 is a blend of sulphuric acid with special wetting agents and corrosion inhibitors. It is designed to remove all blockages from drains including grease, fat, teabags, cardboard, bodywaste, uric acid and vegetable matter.

PRODUCT DILUTION

Before using C312 remove as much water as possible from the drain, sink or toilet to be cleared.

Sinks and drains – apply ½ litre of C312 and allow to stand for 10 minutes, flush well with water and repeat if necessary.

Toilets and floor drains – use ½ litre measures and apply as for sinks and drains.

Toilets and ‘U’ bends – apply through a length of ½” bore rubber or plastic. Block one end with tissue paper and feed into drain over the trap. Using a funnel, pour ¼ litre of C312 into the hose. Leave for 5 minutes. If water is not present add ¼ litre of water, allow to stand for two minutes and then flush well
PRODUCT APPLICATION

C312 is sulphuric acid based and cannot be used on aluminium or galvanised metal, Stainless Steel.

 It will NOT harm iron, copper, steel, clay, rubber, plastic or cement based pipes or septic tanks if neutralised.

DO NOT MIX WITH OTHER PRODUCTS

